{"text_format":"3","workbook":"xls","n_sheets":1,"sheets":["报价清单"],"not_rendered":{"external_links":1,"defined_names":1},"read":"whole","date_system":"1900","formulas":"cached_only"}

{"sheet":"报价清单","index":0,"n_rows":33,"n_cols":10,"rows_kept":33,"merged":[[0,0,0,9],[28,0,28,5],[29,0,29,9]],"flags":["formulas_cached_only"]}
["电线电缆采购报价单"]
["序号","项目名称","项目特征描述","计量\n单位","暂定工程量","综合单价","合价","甲方推荐品牌","投标单位报价品牌","备注"]
[1,"矿物绝缘电力电缆","1、名称:矿物绝缘电力电缆\n2、材质:铜芯\n3、规格、型号:BTTWY-4×35+1×16（如无国标，按照对应企标自行标注）\n4、敷设方式、部位:管道、桥架、竖直通道敷设","m",126.77,null,null,"远东、上上、江南、东强"]
[2,"矿物绝缘电力电缆","1、名称:矿物绝缘电力电缆\n2、材质:铜芯\n3、规格、型号:BTTWY-4×185+1×95（如无国标，按照对应企标自行标注）\n4、敷设方式、部位:管道、桥架、竖直通道敷设","m",76.63,null,null,"远东、上上、江南、东强"]
[3,"矿物绝缘电力电缆","1、名称:矿物绝缘电力电缆\n2、材质:铜芯\n3、规格、型号:BTTWY-5×4（如无国标，按照对应企标自行标注）\n4、敷设方式、部位:管道、桥架、竖直通道敷设","m",34.09,null,null,"远东、上上、江南、东强"]
[4,"矿物绝缘电力电缆","1、名称:矿物绝缘电力电缆\n2、材质:铜芯\n3、规格、型号:BTTWY-5×6（如无国标，按照对应企标自行标注）\n4、敷设方式、部位:管道、桥架、竖直通道敷设","m",42.82,null,null,"远东、上上、江南、东强"]
[5,"电力电缆","1、名称:电力电缆\n2、材质:铜芯\n3、规格、型号:WDZ-YJY-4×4\n4、敷设方式、部位:管道、桥架、竖直通道敷设","m",7.18,null,null,"远东、上上、江南、东强"]
[6,"电力电缆","1、名称:电力电缆\n2、材质:铜芯\n3、规格、型号:WDZ-YJY-5×6\n4、敷设方式、部位:管道、桥架、竖直通道敷设","m",14.95,null,null,"远东、上上、江南、东强"]
[7,"电力电缆","1、名称:电力电缆\n2、材质:铜芯\n3、规格、型号:WDZ-YJY-5×10\n4、敷设方式、部位:管道、桥架、竖直通道敷设","m",80.2,null,null,"远东、上上、江南、东强"]
[8,"电力电缆","1、名称:电力电缆\n2、材质:铜芯\n3、规格、型号:WDZ-YJY-5×16\n4、敷设方式、部位:管道、桥架、竖直通道敷设","m",595.49,null,null,"远东、上上、江南、东强"]
[9,"电力电缆","1、名称:电力电缆\n2、材质:铜芯\n3、规格、型号:WDZ-YJY-4×25+1×16\n4、敷设方式、部位:管道、桥架、竖直通道敷设","m",52.13,null,null,"远东、上上、江南、东强"]
[10,"电力电缆","1、名称:电力电缆\n2、材质:铜芯\n3、规格、型号:WDZ-YJY-4×35+1×16\n4、敷设方式、部位:管道、桥架、竖直通道敷设","m",10.85,null,null,"远东、上上、江南、东强"]
[11,"电力电缆","1、名称:电力电缆\n2、材质:铜芯\n3、规格、型号:WDZ-YJY-4×50+1×25\n4、敷设方式、部位:管道、桥架、竖直通道敷设","m",81.93,null,null,"远东、上上、江南、东强"]
[12,"电力电缆","1、名称:电力电缆\n2、材质:铜芯\n3、规格、型号:WDZ-YJY-4×95+1×50\n4、敷设方式、部位:管道、桥架、竖直通道敷设","m",20.46,null,null,"远东、上上、江南、东强"]
[13,"电力电缆","1、名称:电力电缆\n2、材质:铜芯\n3、规格、型号:WDZ-YJY-4×150+1×70\n4、敷设方式、部位:管道、桥架、竖直通道敷设","m",20.72,null,null,"远东、上上、江南、东强"]
[14,"电力电缆","1、名称:电力电缆\n2、材质:铜芯\n3、规格、型号:YJV-4×150\n4、敷设方式、部位:管道、桥架、竖直通道敷设","m",700,null,null,"远东、上上、江南、东强"]
[15,"电力电缆","1、名称:电力电缆\n2、材质:铜芯\n3、规格、型号:NH-YJV-4×240\n4、敷设方式、部位:管道、桥架、竖直通道敷设","m",200,null,null,"远东、上上、江南、东强"]
[16,"配线","1、名称:电气配线\n2、型号:WDZ-BYJ-2.5\n3、配线部位:管道、桥架敷设","m",15684.2,null,null,"远东、上上、江南、东强"]
[17,"配线","1、名称:电气配线\n2、型号:WDZN-BYJ-2.5\n3、配线部位:管道、桥架敷设","m",40.8,null,null,"远东、上上、江南、东强"]
[18,"配线","1、名称:电气配线\n2、型号:WDZ-BYJ-4.0\n3、配线部位:管道、桥架敷设","m",3933.54,null,null,"远东、上上、江南、东强"]
[19,"配线","1、名称:电气配线\n2、型号:WDZBN-BYJ-35\n3、配线部位:管道、桥架敷设","m",188.52,null,null,"远东、上上、江南、东强"]
[20,"配线","1、名称:接地绝缘导线\n2、配线形式:管内穿线\n3、规格、型号:WDZC-BYJ-16\n4、材质:铜芯\n5、配线线制:接地线路","m",253.56,null,null,"远东、上上、江南、东强"]
[21,"电力电缆","YJV-4*185mm2","m",50.5,null,null,"远东、上上、江南、东强"]
[22,"电力电缆","ZR-YJV22-5*16mm2","m",186,null,null,"远东、上上、江南、东强"]
[23,"电力电缆","ZR-YJV22-5*6mm2","m",186,null,null,"远东、上上、江南、东强"]
[24,"电力电缆","ZR-YJV22-4*35+1*16mm2","m",88,null,null,"远东、上上、江南、东强"]
[25,"电力电缆","ZR-YJV22-5*10mm2","m",310,null,null,"远东、上上、江南、东强"]
[26,"电力电缆","WDZ-YJY-5*4mm2","m",28.67,null,null,"远东、上上、江南、东强"]
["合    计",{"$nulls":8},0]
["注：1、本项目采用“全费用综合单价”合同，合同实施过程中综合单价不作调整（除设计变更或甲方调整项目内容或合同约定调整外）。\n2、投标报价应包含本询价文件中的全部内容所需的所有费用，包括投标人为完成询价文件（含货物清单）确定的询价范围内的所有工作内容，进行货物的采购、供应、运输、检测、验收、交货（卸货至指定地点并承担卸货费）等服务工作而涵盖的所有费用，即主要包括（但不限于）：货物价格、包装费、运输费、卸货费、质保（质保期2年）、售前售后服务费、相关资料费、管理费、利润、规费、税金（增值税）【投标报价时统一按13%(附加税按相关规定执行)计取并分摊至综合单价中，实际开具的增值税专票税率低于13%部分的差额甲方结算时予以扣除】、市场风险、国家政策性调整风险、不可预见费等一切费用，凡漏项或少计均视为优惠，询价人不另行增加费用。"]
[{"$nulls":6},"报价单位（盖公章）："]
[]
[{"$nulls":6},"日   期："]